## Today
Bellevue EV Charger Usage — 2026-07-30 (Thursday)
Pilot day 13 of 14. Occupancy = share of ports in use, 7am-9pm, 30-min polls.
Headline (today)
Chargers polled | 77
of which reporting usable data | 72
of which offline all day (excluded) | 5
Total charging ports | 689
Average occupancy (of usable chargers) | 22.0%
Chargers with ZERO use today | 19 of 72 usable (26.4%)
Data quality — poll cycles today | 21 of ~28 expected (healthy)
Subsets | Chargers | Avg occupancy | Zero-use
State-funded | 0 | pending NREL | pending NREL
Apartment/condo | 0 | pending NREL | pending NREL
Network | Address | Ports | Samples | Avg occupancy % | Zero-use? | Offline? | Funded | Apartment/condo
Blink | 10333 Main Street, Bellevue, WA 98004 | 20 | 21 | 0 | YES
ChargePoint | 175 106th Avenue Southeast, Bellevue, WA 98004 | 2 | 21 | 0 | YES
ChargePoint | 162 106th Avenue Northeast, Bellevue, WA 98004 | 8 | 5 | 0 | YES
ChargePoint | 175 106th Ave Northeast, West Main Tower II P5, Bellevue, WA 98004 | 1 | 16 | 0 | YES
ChargePoint | 10657 Northeast 2nd Street, Bellevue, WA 98004 | 8 | 21 | 0 | YES
ChargePoint | 188 106th Avenue Northeast, Bellevue, WA 98004 | 2 | 17 | 0 | YES
Blink | 155 108th Avenue Northeast, Bellevue, WA 98004 | 2 | 21 | 0 | YES
Blink | 333 108th Avenue Northeast, Bellevue, WA 98004 | 2 | 21 | 0 | YES
ChargePoint | 437 108th Avenue Northeast, Bellevue, WA 98004 | 2 | 4 | 0 | YES
ChargePoint | 10850 Northeast 6th Street, Bellevue, WA 98004 | 10 | 6 | 0 | YES
ChargePoint | 700 108th Ave Northeast, Bellevue, WA 98004 | 16 | 6 | 0 | YES
ChargePoint | 633 110th Avenue Northeast, Bellevue, WA 98004 | 16 | 4 | 0 | YES
Blink | 11225 Southeast 6th Street, Bellevue, WA 98004 | 6 | 21 | 0 | YES
Blink | 11100 Northeast 8th Street, Bellevue, WA 98004 | 2 | 21 | 0 | YES
ChargePoint | 11101 Northeast 12th Street, Bellevue, WA 98004 | 2 | 21 | 0 | YES
Blink | 11900 Northeast 1st Street, Bellevue, WA 98005 | 2 | 21 | 0 | YES
Blink | 330 120th Avenue Northeast, Bellevue, WA 98005 | 4 | 21 | 0 | YES
Blink | 150 120th Avenue Northeast, Bellevue, WA 98005 | 2 | 21 | 0 | YES
ChargePoint | 12241 Main Street, Bellevue, WA 98005 | 8 | 21 | 0 | YES
ChargePoint | 600 108th Avenue Northeast, Bellevue, WA 98004 | 32 | 21 | 0.6
Blink | 10770 Northeast 8th Street, Bellevue, WA 98004 | 15 | 21 | 1
ChargePoint | 10903 Northeast 6th Street, Bellevue, WA 98004 | 2 | 21 | 2.4
Blink | 220 120th Avenue Northeast, Bellevue, WA 98005 | 2 | 21 | 2.4
ChargePoint | 11695 Northeast 4th Street, Bellevue, WA 98004 | 2 | 14 | 3.6
ChargePoint | 10232 Northeast 10th Street, Bellevue, WA 98004 | 11 | 21 | 3.8
ChargePoint | 10801 Northeast 8th Street, Bellevue, WA 98004 | 22 | 21 | 4.8
ChargePoint | 12111 Northeast 1st Street, Bellevue, WA 98005 | 16 | 21 | 6.5
Blink | 10777 Northeast 10th Street, Bellevue, WA 98004 | 3 | 21 | 7.1
ChargePoint | 162 106th Ave Northeast P4, Bellevue, WA 98004 | 14 | 21 | 9.3
ChargePoint | 10657 Northeast 2nd Street, Bellevue, WA 98004 | 26 | 21 | 11
Blink | 425 106th Avenue Northeast, Bellevue, WA 98004 | 6 | 18 | 11.1
ChargePoint | 88 102nd Avenue Northeast, Bellevue, WA 98004 | 10 | 21 | 11.3
ChargePoint | 175 106th Ave Northeast P3, Bellevue, WA 98004 | 6 | 18 | 12
ChargePoint | 1300 114th Avenue Southeast, Bellevue, WA 98004 | 4 | 21 | 14.3
ChargePoint | 10657 Northeast 2nd St P4, Bellevue, WA 98004 | 8 | 15 | 14.7
Blink | 1231 116th Avenue Northeast, Bellevue, WA 98004 | 4 | 21 | 16.7
ChargePoint | 175 106th Avenue Northeast, Bellevue, WA 98004 | 22 | 21 | 19
ChargePoint | 316 116th Avenue Northeast, Bellevue, WA 98004 | 8 | 21 | 20.8
ChargePoint | 10885 Northeast 4th Street, Bellevue, WA 98004 | 4 | 21 | 22.6
ChargePoint | 424 Bellevue Way Northeast, Bellevue, WA 98004 | 8 | 21 | 25
ChargePoint | 600 100th Avenue Northeast, Bellevue, WA 98004 | 4 | 21 | 25
ChargePoint | 432 Bellevue Way Northeast, Bellevue, WA 98004 | 2 | 21 | 26.2
ChargePoint | 10822 Northeast 2nd Place, Bellevue, WA 98004 | 2 | 21 | 26.2
ChargePoint | 500 108th Avenue Northeast, Bellevue, WA 98004 | 4 | 21 | 26.2
ChargePoint | 2086 101st Avenue Northeast, Bellevue, WA 98004 | 2 | 21 | 26.2
ChargePoint | 601 108th Ave Northeast, Bellevue, WA 98004 | 30 | 21 | 26.9
Blink | 10410 Northeast 2nd Street, Bellevue, WA 98004 | 6 | 21 | 27.1
ChargePoint | 376 116th Avenue Northeast, Bellevue, WA 98114 | 2 | 21 | 28.6
ChargePoint | 555 110th Avenue Northeast, Bellevue, WA 98004 | 10 | 21 | 33.8
ChargePoint | 85 Diamond's Ranch, Bellevue, WA 98004 | 16 | 21 | 34.8
ChargePoint | 10900 Northeast 4th Street, Bellevue, WA 98004 | 10 | 21 | 35.2
ChargePoint | 10550 Northeast 10th Street, Bellevue, WA 98004 | 10 | 21 | 35.7
ChargePoint | 288 106th Avenue Northeast, Bellevue, WA 98004 | 2 | 21 | 38.1
ChargePoint | 10450 Northeast 10th Street, Bellevue, WA 98004 | 10 | 21 | 38.1
ChargePoint | 11011 Northeast 9th Street, Bellevue, WA 98004 | 8 | 21 | 38.8
ChargePoint | 700 Bellevue Way Northeast, Bellevue, WA 98004 | 8 | 21 | 39.9
ChargePoint | 410 Bellevue Way Northeast, Bellevue, WA 98004 | 10 | 21 | 40.5
ChargePoint | 320 108th Avenue Northeast, Bellevue, WA 98004 | 20 | 21 | 43.3
ChargePoint | 333 108th Avenue Northeast, Bellevue, WA 98004 | 28 | 21 | 44.9
ChargePoint | 85 Diamond's Ranch, Bellevue, WA 98004 | 17 | 21 | 45.1
EV Connect | 10650 Northeast 9th Place, Bellevue, WA 98004 | 3 | 21 | 46
ChargePoint | 555 108th Avenue Northeast, Bellevue, WA 98004 | 47 | 21 | 46.6
ChargePoint | 10201 Northeast 4th Street, Bellevue, WA 98004 | 4 | 21 | 47.6
ChargePoint | 414 Bellevue Way Northeast, Bellevue, WA 98004 | 2 | 21 | 50
ChargePoint | 435 108th Avenue Northeast, Bellevue, WA 98004 | 10 | 5 | 50
Blink | 929 108th Avenue Northeast, Bellevue, WA 98004 | 6 | 21 | 50
ChargePoint | 575 Bellevue Way Northeast, Bellevue, WA 98004 | 4 | 21 | 51.2
ChargePoint | 2088 101st Avenue Northeast, Bellevue, WA 98004 | 4 | 21 | 53.6
ChargePoint | 440 Bellevue Way Northeast, Bellevue, WA 98004 | 4 | 21 | 57.1
ChargePoint | 500 Bellevue Way Northeast, Bellevue, WA 98004 | 2 | 21 | 59.5
ChargePoint | Bellevue Square - North Building104th Ave Northeast, Bellevue, WA 98004 | 8 | 21 | 69.6
ChargePoint | 10400 Northeast 4th Street, Bellevue, WA 98004 | 2 | 21 | 100
Blink | 380 106th Avenue Northeast, Bellevue, WA 98004 | 36 | 0 | n/a |  | YES
ChargePoint | 411 108th Avenue Northeast, Bellevue, WA 98004 | 2 | 0 | n/a |  | YES
ChargePoint | 10710 Northeast 10th Street, Bellevue, WA 98004 | 4 | 0 | n/a |  | YES
ChargePoint | 11505 Northeast 2nd Place, Bellevue, WA 98004 | 4 | 0 | n/a |  | YES
ChargePoint | 958 111th Avenue Northeast, Bellevue, WA 98004 | 6 | 0 | n/a |  | YES

## Running Total
Running Total — Bellevue EV Charger Pilot
Cumulative 2026-07-18 to 2026-07-30. Official window 2026-07-18-2026-07-31.
Days collected so far | 11
Unique chargers seen | 82
Cumulative average occupancy | 22.7%
Usable station-days with zero use | 235 of 766 (30.7%)
Date | Day | Chargers | Avg occupancy % | % zero-use | Poll cycles | Data quality
2026-07-18 | Sat | 70 | 17 | 42.9 | 4 | thin
2026-07-19 | Sun | 70 | 13 | 54.3 | 4 | thin
2026-07-20 | Mon | 70 | 32.1 | 22.9 | 11 | thin
2026-07-21 | Tue | 70 | 16.1 | 54.3 | 4 | thin
2026-07-23 | Thu | 70 | 26.5 | 22.9 | 26 | healthy
2026-07-24 | Fri | 70 | 27.9 | 15.7 | 27 | healthy
2026-07-25 | Sat | 69 | 20.4 | 31.9 | 24 | healthy
2026-07-26 | Sun | 69 | 16.9 | 29 | 28 | healthy
2026-07-27 | Mon | 69 | 31.1 | 13 | 20 | healthy
2026-07-29 | Wed | 67 | 26.8 | 23.9 | 18 | thin
2026-07-30 | Thu | 72 | 22 | 26.4 | 21 | healthy